## File_and_Variable_Names
Site | File Name | File Description | Variable Name | Variable Description
ICB | TableA1.csv | ICB med severity closed canopy ("Forest") station; lat=37.675495, lon=-119.564904 | TIMESTAMP | Time stamps, every 10 min
| TableB1.csv | ICB high severity dry ("Shrub") station; lat=37.676544, lon=-119.565413 | RECORD | datalogger record number
| TableC1.csv | ICB low severity wet ("Wetland") station; lat=37.675441, lon=-119.566771 | BattV_Min | minimum battery voltage; Volts
SCB | TableD1.csv | SCB high severity dry ("Shrub"), lat=36.713509, lon= -118.69065 | BattV_TMn | time of minimum battery voltage
| TableE1.csv | SCB low severity closed canopy ("Forest"), lat=36.713422, lon= -118.691668 | PTemp_C_Max | maximum battery temperatur; Deg C
| TableF1.csv | SCB high severity wet ("Wetland"), lat=36.7120, lon= -118.690192 | PTemp_C_TMx | time of maximum battery temperature
|  |  | Rain_mm_Tot | total precip from tipping rain bucket; mm
|  |  | AirTC_Avg | average air temperature at ~2 meter height; deg C
|  |  | RH | average relative humidity at ~2 meter height; %
|  |  | SlrkW_Avg | average solar radiation; kW/m^2
|  |  | SlrMJ_Tot | total solar radiation; MJ/m^2
|  |  | WS_ms_Max | maximum wind speed; m/sec
|  |  | WS_ms_TMx | time of maximum wind speed
|  |  | WindDir | average wind direction; degrees (N=0)
|  |  | ETos | Evapotranspiration [mm]; not accurate and not used
|  |  | ETo | Evapotranspiration [mm]; not accurate and not used
|  |  | VWC_Avg (ICB); VWC_0_Avg (SCB) | Average shallow soil moisture at 12 cm; m^3/m^3
|  |  | EC_Avg | Average shallow soil conductance at 12 cm; dS/m
|  |  | T_Avg | Average shallow soil temperature at 12 cm; deg C
|  |  | VWC_2_Avg (ICB); VWC_1_Avg (SCB) | Average mid depth moisture at 60 cm; m^3/m^3
|  |  | EC_2_Avg (ICB); EC_1_Avg (SCB) | Average mid depth soil conductance at 60 cm; dS/m
|  |  | T_2_Avg (ICB); T_1_Avg (SCB) | Average mid depth soil temperature at 60 cm; deg C
|  |  | VWC_3_Avg (ICB); VWC_2_Avg (SCB) | Average deep moisture at 100 cm; m^3/m^3
|  |  | EC_3_Avg; (ICB); EC_2_Avg (SCB) | Average deep soil conductance at 100 cm; dS/m
|  |  | T_3_Avg (ICB); T_2_Avg (SCB) | Average deep depth soil temperature at 100 cm; deg C
WS_ms
|  |  | WS_ms_Avg | average wind speed; m/s
|  |  | Notes | Comments on data quality

## Data_Description
Data in files A1, B1, and C1 (Illilouette Creek Basin) and D1, E1, and F1 (Sugarloaf Creek Basin) is collected by Campbell Scientific datalogger CR1000 at a 10 min resolution. Some variables are aggregated over the 10 min period and others are provided as maximum and minimums. Data was quality controlled to remove any erroneous data due to equipment damage or human interference. Data is not gap-filled